# Radiology Report Copilot

Project Summary Document

June 2026

# 1. Executive Summary

Radiology Report Copilot is a local-first AI application for chest X-ray analysis. A radiologist or researcher uploads a chest X-ray image; the system automatically scores pathologies, generates explainability visualizations, assigns a Lung-RADS risk category, drafts a structured clinical report, and validates the output before export.

All processing runs entirely on the local machine — no patient data is sent to external cloud APIs. Vision models, language models, and the web interface are orchestrated through a single Streamlit application.

Primary goal: Demonstrate an end-to-end radiology AI workflow that combines computer vision, explainability, clinical risk scoring, and natural language report generation in a research and educational setting.

# 2. Problem Statement

Chest X-ray interpretation is time-consuming and requires specialized expertise. AI can assist by:

Flagging likely pathologies with confidence scores

Showing where the model is looking (explainability)

Standardizing report structure (FINDINGS / IMPRESSION / RECOMMENDATIONS)

Applying clinical guidelines (e.g., ACR Lung-RADS 1.1)

Reducing common LLM errors through rule-based quality checks

This project implements that workflow as a cohesive, locally runnable system.

# 3. System Architecture

The application uses a 7-stage LangGraph pipeline orchestrated in app/pipeline/graph.py:

| Step | Module | Function |
| --- | --- | --- |
| 1 | app/vision/torchxray.py | Score 14 chest pathologies (DenseNet121) |
| 2 | app/vision/torchxray.py | Generate Grad-CAM heatmaps for explainability |
| 3 | app/pipeline/lung_rads.py | Assign Lung-RADS 1.1 category (1, 2, 3, 4A, 4B, 4X) |
| 4 | app/vision/llava_client.py | Produce visual description (LLaVA via Ollama) |
| 5 | app/utils/ner.py | Extract clinical entities with scispaCy |
| 6 | app/pipeline/drafter.py | Draft structured report with Llama 3.1 8B |
| 7 | app/pipeline/qa_agent.py | Rule-based validation before final export |

Flow: Upload X-ray → Vision Model → Grad-CAM + Lung-RADS → LLaVA Description → NER → Report Drafter → QA Agent → Final Report

The Streamlit UI (app/main.py) is the single entry point for upload, analysis, visualization, and download.

# 4. Components Built

## 4.1 Vision & Pathology Detection (app/vision/torchxray.py)

Uses TorchXRayVision with a DenseNet121 backbone trained on multiple chest X-ray datasets

Returns confidence scores for 14 pathology classes (e.g., Mass, Nodule, Effusion, Pneumothorax, Cardiomegaly)

Implements Grad-CAM via pytorch-grad-cam targeting model.features.denseblock4

Exposes get_pathology_labels(), get_heatmap(), and get_all_heatmaps() for multi-label views

## 4.2 Bounding Box & Anatomical Labeling (app/vision/bbox.py)

Extracts bounding boxes from Grad-CAM activation maps using OpenCV contour detection

Maps box centers to a 3×3 anatomical grid (e.g., Right Upper Lobe, Cardiac Silhouette, Left Lower Lobe)

Assigns risk levels (high / medium / low) from model confidence

Draws color-coded boxes on the X-ray with pathology label, confidence, and region name

Main entry point: annotate_xray() — returns annotated image, box list, and text summary

## 4.3 LLaVA Visual Description (app/vision/llava_client.py)

Calls LLaVA through local Ollama (/api/generate)

Resizes images to 512px RGB for consistent inference

Returns a free-text clinical description of visible findings

Includes graceful fallbacks when Ollama is unavailable

## 4.4 Lung-RADS Scoring (app/pipeline/lung_rads.py)

Rule-based ACR Lung-RADS 1.1 implementation — no LLM required

Categories: 1, 2, 3, 4A, 4B, 4X

Outputs malignancy risk range, follow-up interval, urgency flag, and recommended actions

Supports Mass and Nodule findings with score-based thresholds

## 4.5 Clinical Entity Extraction (app/utils/ner.py)

Uses scispaCy model en_core_sci_sm to extract structured entities from LLaVA text for the report drafter.

## 4.6 Report Drafter (app/pipeline/drafter.py)

Generates structured reports in FINDINGS / IMPRESSION / RECOMMENDATIONS format using Llama 3.1 8B via Ollama

detect_conflict() — flags when LLaVA says normal but pathology scores are high (>0.65); drafter prioritizes quantitative scores

generate_patient_summary() — converts clinical reports into plain-English patient-facing summaries with sections: WHAT WE FOUND, WHAT THIS MEANS FOR YOU, WHAT HAPPENS NEXT, WHEN TO SEEK IMMEDIATE HELP

## 4.7 QA Agent (app/pipeline/qa_agent.py)

Rule-based validation — no additional LLM call

Checks for required sections (FINDINGS, IMPRESSION, RECOMMENDATIONS)

Flags sparse findings, score/report mismatches, and common hallucinations

Returns pass/fail status with specific flags

## 4.8 Evaluation Utilities (app/utils/evaluator.py)

CheXpert label mapping, threshold-based predictions, and metrics computation for benchmarking.

## 4.9 Pipeline Orchestration (app/pipeline/graph.py)

LangGraph state machine with typed ReportState. Nodes: run_vision → run_heatmap → run_lung_rads → run_llava → run_ner → run_drafter → run_qa → finalize. Final report includes timestamp, top-5 pathology score bars, and clinical disclaimer.

# 5. User Interface Features (app/main.py)

| Feature | Description |
| --- | --- |
| File upload | PNG, JPG, or DICOM chest X-rays |
| Progress tracking | 7-step pipeline progress bar with status toasts |
| Pathology scores | Expandable table of all detected pathologies |
| Explainability Explorer | Switch between 8 pathology labels to view Grad-CAM heatmaps live |
| Lesion Localization | Grad-CAM / Bounding Box / Side-by-Side views; detection table; threshold slider; annotated image download |
| Lung-RADS Assessment | Category, risk level, follow-up timeline, and action items |
| LLaVA description | Expandable visual findings text |
| Final report | Downloadable timestamped .txt clinical report |
| QA results | Pass/fail validation with specific flags |
| Sidebar summary | Top findings, highest confidence, Lung-RADS category |

# 6. Technology Stack

| Layer | Technology |
| --- | --- |
| Vision classification | TorchXRayVision (DenseNet121) |
| Explainability | pytorch-grad-cam, OpenCV |
| Vision-language | LLaVA (Ollama) |
| Report generation | Llama 3.1 8B (Ollama) |
| Orchestration | LangGraph |
| Clinical NER | scispaCy en_core_sci_sm |
| Risk scoring | Custom Lung-RADS 1.1 engine |
| Web UI | Streamlit |
| HTTP client | httpx |
| Testing | pytest |

Environment: Python 3.10+, Windows 10/11, ~16 GB RAM recommended, ~8 GB disk for models.

# 7. Development Work Completed

Core pipeline — Full LangGraph workflow from image upload to final report

Grad-CAM explainability — Single and multi-label heatmap generation

Bounding box localization — Anatomical region labeling from CAM arrays (bbox.py)

Lung-RADS integration — Automated risk categorization in pipeline and UI

LLaVA integration — Switched to Ollama /api/generate for reliable local inference

Conflict detection — High-confidence pathology scores override normal LLaVA descriptions in drafting

QA validation — Rule-based checks before report export

Patient summary function — generate_patient_summary() for plain-English output

Windows compatibility — UTF-8 encoding fixes, numpy 1.24.4 pin for scispaCy

## Testing Performed

| Test | Result |
| --- | --- |
| bbox.py anatomical region mapping | Passed (Right Upper Lobe, Cardiac Silhouette, Left Lower Lobe) |
| bbox.py bounding box extraction | Passed (2 boxes from synthetic CAM) |
| generate_patient_summary import | Passed |
| Patient summary generation (Ollama) | Fallback on timeout when Ollama slow; succeeds when Ollama is responsive |
| Streamlit UI | Running on http://localhost:8509 |

# 8. How to Run

## Prerequisites

ollama pull llava

ollama pull llama3.1:8b

## Install

pip install -r requirements.txt

pip install https://s3-us-west-2.amazonaws.com/ai2-s2-scispacy/releases/v0.5.3/en_core_sci_sm-0.5.3.tar.gz

## Start (Windows)

$env:PYTHONIOENCODING = "utf-8"

python -m streamlit run app/main.py --server.headless true

Usage: Open the local URL → upload chest X-ray → click Run Analysis → review scores, heatmaps, bounding boxes, Lung-RADS, and download the report.

# 9. Limitations & Disclaimer

Research and educational use only — not FDA-cleared, not a medical device

AI findings must be verified by a licensed radiologist before any clinical use

LLM outputs may contain errors; QA agent reduces but does not eliminate risk

Ollama model load times can cause timeouts on first run (~2 minutes warm-up observed)

Bounding boxes are derived from Grad-CAM activations, not a dedicated object detector — approximate localization only

Lung-RADS scoring uses model confidence as a proxy; not a substitute for radiologist measurement

# 10. Project File Structure

radiology-copilot/
├── app/
│   ├── main.py                 # Streamlit UI
│   ├── vision/
│   │   ├── torchxray.py        # Pathology scores + Grad-CAM
│   │   ├── llava_client.py     # LLaVA via Ollama
│   │   └── bbox.py             # Bounding boxes + anatomical labels
│   ├── pipeline/
│   │   ├── graph.py            # LangGraph orchestration
│   │   ├── drafter.py          # Report + patient summary generation
│   │   ├── qa_agent.py         # Rule-based validation
│   │   └── lung_rads.py        # Lung-RADS 1.1 scorer
│   └── utils/
│       ├── ner.py              # scispaCy entity extraction
│       └── evaluator.py        # CheXpert benchmark metrics
├── tests/
├── requirements.txt
└── README.md

# 11. Conclusion

Radiology Report Copilot delivers a complete, locally runnable chest X-ray analysis workflow. It combines quantitative pathology scoring, visual explainability (Grad-CAM and bounding boxes), clinical risk stratification (Lung-RADS), natural language reporting, and automated quality checks into a single Streamlit application suitable for research demonstrations and educational use.

Document prepared: June 2026  |  Project: Radiology Report Copilot  |  License: MIT